## Slide 1: Ways Forward For Calibration of CTS, Reflectometer and ECE Diagnostic Systems and Reference Calibration Discharge
S. Schmuck, Workshop Participants

## Slide 2: CTS
From 1st MWCM:
  Tracking of changes in calibration TL and source:
    Has its own receiver to use monitoring
W7-X:
  Use of powerful source to calibrated in short time:
    Offset not measured: quantify impact:
      Could be done but other uncertainties are leading in order
    Long-term sensitivity drift to be quantified

## Slide 3: CTS
DTU:
  Calibration procedure emits through with diameter 3.5 mm well below wavelength of spectral domain to be calibrated:
    How to characterise the calibration source? NO issue: measured and antenna pattern sufficient that power reaches
  Measure of non-linearities:
    Establish procedure
  Launcher line transmission throughput could be monitored
  Coupling of launched signal into receiving line different to coupling during plasma operation
  Why 3.5 mm diameter pin hole?
    To be checked soon as CTS components are under manufacturing

## Slide 4: Reflectometer
GA:
  Switches too slow with 100 ms to protect detector, fast protection possible by diode switches with 1 mus response time followed by slower shutter
  Protection implies:
    Down-time of probing plasma of at least 200 ms: real-time control affected but LFSR is only basic control diagnostic
    Alternative: switching between lines when one line is affected only? reducing down-time to 100 ms
    Open question: All antennas may be affected at the same time but sensors would reveal if ECH would be present
  Perform frequency sweep to determine non-linearity:
    Calibration time per frequency could be improved: processing latency to be reduced by moving to perform analyses to FPGA
    Single calibration 3-5 s to few 100 ms with current synthesis could be improved via faster syntheser
  What is systematic causing difference between real-time and post-processed?
  Improve detection: ITER B is constant, first reflection confined in space in frequency
    Use uncertainty of location of first cut-off layer to derive uncertainty on profile
LHD:
  Background noise elimination: benefit for high-frequency reflectometer to remove plasma related noise floor
    Chris: separation between reflectometer signal and back-ground not possible for ITER conditions

## Slide 5: ECE
LHD:
  Cross-calibration of heterodyne radiometer with TS:
    Any consistencies? How can inconsistencies be spotted?: seems to be possibsle
    10-20% difference possible between ECE and TS diagnostics especially above 3-4 keV: 50% seen at higher temperatures
    Difference for high temperature plasma: not systematically studied yet
    Dependence of TS/ECE discrepancies on heating scheme/conditions?
      Larger for tangential NBI
      Soft Xray could be used
SPARC:
  Quasi-optical arrangement, why not transmission line: alignment active maybe needed
  ENR how chosen?
  FTS should be there to make sure the radiation is thermal

## Slide 6: ECE
HL-3:
  Compare results of Magnetic Difference Calibration Method with conventional
  absolute calibration pending on upgrade of diagnostic system
  Te estimated from TS taken to estimated ECE sensitivity:
    Any consistencies? How can inconsistencies be spotted?
WEST:
  FTS system suggested
  Find explanation of 50% change of channel sensitivity and try to mitigate
  Calibration procedure to be checked for movement of equipment away from machine to calibration stand

## Slide 7: ECE
ITER:
  Cross-calibrations: take into consideration differing temporal and spectral resolutions of TS, FTS and radiometer: reformulate as cross-calibration is not the right approach for redundancy
  William: size of hot source by place of front-end, not to calibrate diagnostic below 120 GHz?
    Antenna pattern to be checked hopefully via measurements at IO, IN-DA and US-DA sites
  Share derived mode FTS sensitivity, include
  Additional workshop on measuring non-Maxwellian distribution functions and how characterise and deal with these in physics models and data analysis approaches
  Noise estimation from different sources: plasma, detector, post detection

## Slide 8: Reference Calibration Discharge
ITER joint data analysis scheme:
  Compliance of diagnostic assumption given sensitivity, line of sight coordinates,…. can be characterised objectively
  Systematics found between measured uncertain data and inferred profiles, diagnostic quantities can be inferred to achieve compliance
  Systematic uncertainties to be included in the likelihood which states the compliance between predictive model and data given the measurement uncertainties
ITER reference calibration discharge:
  How to participate in the design of the reference pulse?
    Submit requirements to M. Kocan or other diagnostic TROs
  Impact statements to justify and defined calibration pulses as
    BEST also planning for reference pulses, collaboration was agreed and IO waiting for feedback
  Timeframe of pulse requirements: no deadline for the moment some
    Research plan as formulated recently includes dedicated pulses
  At JET, reference pulses carried out weekly or similar
  Standard H-mode discharge at AUG in the past but stopped in last couple of years
    Calibration pulses only used if a systematic occurred
  Pressure on schedule should not cut away reference pulses as uncertain information
  Requirements from diagnostics:
    Reflectometer: request several lines of sight, small plasma column to be move up and down